| №° | Description of goods | Physical loneliness | Quantity | Net price, Euro | Amount, Euro |
| --- | --- | --- | --- | --- | --- |
| 1 | Stop pin SD- 25х350 | psc | 8888 |  | 0,00 |
| 2 | High-strength hex bolts M 36 х 140 | psc | 5200 |  | 0,00 |
| 3 | High-strength hex bolts M 36 х 190 | psc | 5040 |  | 0,00 |
| 4 | High-strength hex bolts M 36 х 195 | psc | 3696 |  | 0,00 |
| 5 | Hexagon nuts for high strength structural M 36 | psc | 13936 |  | 0,00 |
| 6 | Round washers for high strength structural | psc | 27872 |  | 0,00 |
| Total |  |  |  |  | 0,00 |

| № | Technical Parameters |  | Requirements | Quotation | References to documents confirming compliance |
| --- | --- | --- | --- | --- | --- |
| 1 | Stop pin -8888 pcs |  |  |  |  |
| 1.2 | Standard |  | ISO 13918 |  |  |
| 1.3 | Appointment |  | Studs with ceramic ring protection for the joint operation of metal beams and reinforced concrete slabs |  |  |
| 1.4 | Size |  | SD- 25х350 Without welding thread |  |  |
| 1.5 | Material |  | Low carbon steel С255 |  |  |
| 1.6 | Documentation to be Provided | Quality Certificate | Так |  |  |
| 2 | High-strength hex bolts |  |  |  |  |
| 2.2 | Standard |  | EN 14399-4 / DIN 6914 |  |  |
| 2.3 | Classification |  | DIN 931 / ISO 4014 |  |  |
| 2.4 | Size (diameter х length) |  | M 36 х 140 |  |  |
| 2.5 | Size (diameter х length) |  | M 36 х 190 |  |  |
| 2.6 | Size (diameter х length) |  | M 36 х 195 |  |  |
| 2.7 | Material |  | 40X Select steel |  |  |
| 2.8 | Strength class |  | 10.9 |  |  |
| 2.9 | Mechanical properties |  | Rbun>1000 N/mm2, Rbyn>900 N/mm2 |  |  |
| 2.10 | Accuracy class |  | В |  |  |
| 2.11 | Bolts thread |  | metric thread, partial thread |  |  |
| 2.12 | Type of coatings |  | Uncoated/ Zn |  |  |
| 2.13 | Life services |  | At least 30 years |  |  |
| 2.14 | Documentation to be Provided | Quality Certificate (if available) | Yes |  |  |
|  |  | Test/inspection certificates | Yes |  |  |
| 3 | Hexagon nuts for high strength structural |  |  |  |  |
| 3.2 | Standard |  | DIN 6915 |  |  |
| 3.3 | Size |  | M 36 |  |  |
| 3.4 | Material |  | Steel |  |  |
| 3.5 | Strength class |  | 10.9 |  |  |
| 3.6 | Accuracy class |  | В |  |  |
| 3.7 | Type of coatings |  | Uncoated/ Zn |  |  |
| 3.8 | Life services |  | At least 30 years |  |  |
| 3.9 | Documentation to be Provided | Quality Certificate (if available) | Yes |  |  |
|  |  | Test/inspection certificates | Yes |  |  |
| 4 | Round washers for high strength structural |  |  |  |  |
| 4.2 | Standard |  | DIN 6916 |  |  |
| 4.3 | Diameter, mm |  | 37 |  |  |
| 4.4 | Material |  | Steel |  |  |
| 4.5 | Type of coatings |  | Uncoated/ Zn |  |  |
| 4.6 | Life services |  | At least 30 years |  |  |
| 4.7 | Documentation to be Provided | Quality Certificate | Yes / Так |  |  |